A selection and targeting framework of cortical locations for line-scanning fMRI

Jurjen Heij1,2,3*

Luisa Raimondo1,2,3

Jeroen C.W. Siero1,2,4

Serge O. Dumoulin1,2,3,5

Wietske van der Zwaag1,2

Tomas Knapen1,2,3

1Spinoza Centre for Neuroimaging, Amsterdam, Netherlands

2Computational Cognitive Neuroscience and Neuroimaging, Netherlands Institute for Neuroscience, Amsterdam, Netherlands

3Experimental and Applied Psychology, VU University, Amsterdam, Netherlands

4Radiology, University Medical Center Utrecht, Utrecht, the Netherlands

5Experimental Psychology, Utrecht University, Utrecht, Netherlands

Key points

- Because of its high spatial resolution (250µm), line-scanning fMRI is a promising technique for unraveling ascending/descending pathways in the layers of human cortex; its high temporal resolution (~100ms) allows for extremely fast sampling

- For neuroscience applications, precise selection and targeting of the cortical location is critical. We propose a method for planning the line based on functional and anatomical properties

- This approach could bridge canonical fMRI experiments with electrophysiological experiments, which in turn allows novel avenues for studying human physiology non-invasively.

# Abstract

Depth-resolved fMRI is an emerging field growing in popularity given the potential of separating signals from different computational processes in cerebral cortex. Conventional acquisition schemes suffer from low spatial and temporal resolutions. Line-scanning methods allow depth-resolved fMRI by sacrificing spatial coverage in order to sample blood oxygenated level-dependent (BOLD) responses at ultra-high temporal and spatial resolution. For neuroscience applications, it is critical to be able to place the line accurately in order to (1) sample the right neural population and (2) target that neural population with the tailored stimuli or tasks. To this end, we devised a multi-session framework where a target cortical location is selected based on anatomical and functional properties. The line is then positioned according to this information in a separate session and we tailor the experiment to focus on the target location. Anatomically, the precision of the line placement was confirmed by projecting a nominal representation of the acquired line back onto the surface. Functional estimates of neural selectivities in the line, as quantified by a visual population receptive field model, resembled the target selectivities well for most subjects. This functional precision was quantified in detail by estimating the distance between the visual field location of the targeted vertex and the location in visual cortex (V1) that most closely resembled the line-scanning estimates; this distance was on average ~5.5mm. Given the dimensions of the line, differences in acquisition, session, and stimulus design this validates that line-scanning can be used to probe local neural sensitivities across sessions. In summary, we present an accurate framework for line-scanning MRI; we believe such a framework is required to harness the full potential of line-scanning and maximize its utility. Furthermore, this approach bridges canonical fMRI experiments with electrophysiological experiments, which in turn allows novel avenues for studying human physiology non-invasively.

Keywords

line-scanning; pRF; laminar; ultra-high field MRI; 7T; BOLD fMRI

# 1. Introduction

The cerebral cortex comprises separate layers implicated in different processes and information flow. Imaging across cortical depth may reveal unique information about the direction of information flow, specifically whether processes are driven by ascending or descending signals (Felleman and Van Essen, 1991; Hubel and Wiesel, 1972; Rockland and Pandya, 1979). These signals are transmitted at timescales on the order of milliseconds (Moro et al., 2010; Schroeder et al., 1998; Self et al., 2013), while typical functional magnetic resonance (fMRI) acquisitions sample in the order of multiple seconds (Lindquist, 2008; Ogawa et al., 1993; Raimondo et al., 2021b). To properly detect temporal features of the hemodynamic signal propagation at the mesoscale (laminar) level, fast sampling rates are much preferred (Chen et al., 2021; Lewis et al., 2016; Petridou and Siero, 2019; Polimeni and Lewis, 2021; Silva and Koretsky, 2002). Additionally, the architecture of the human cortex requires high spatial resolution as well – with the cortex being 2mm thick on average (Fischl and Dale, 2000), and visual cortex being among the thinnest cortical regions. To separate ascending from descending signals without relying on interpolation, submillimeter resolution is required (Dumoulin et al., 2018; Petridou and Siero, 2019). Ideally, we would go beyond what is presently considered ‘laminar’ resolution at ultra-high field (~0.8mm; Dumoulin et al., 2018; Huber et al., 2021, 2015; Oliveira et al., 2023, 2022; Raimondo et al., 2021b). However, measurements at these resolutions are slow, and typically have a repetition time larger than 2 seconds (Raimondo et al., 2021b). To probe laminar properties non-invasively more precisely in the human cortex, we can wield the power of line-scanning (Choi et al., 2023; Raimondo et al., 2021a; Yu et al., 2014). This acquisition technique allows for sampling rates down to ~100ms and a spatial resolution of 250µm in the line direction (frequency-encoding direction), at the cost of spatial coverage (Raimondo et al., 2023b, 2021a).

In line-scanning, a slice is excited and the signal outside the line of interest is suppressed through outer volume suppression (OVS) pulses. The phase-encoding gradient in the direction perpendicular to the line is omitted, and the line signal is then acquired after every excitation pulse. This results in an acquisition with a spatial resolution of 250μm in the laminar direction with a sampling rate of ~100ms (Raimondo et al., 2021a). In previous work, we showed BOLD responses along cortical depth in response to visual stimulation that were similar to 2D gradient-echo echo planar imaging (GE-EPI) acquisitions (Raimondo et al., 2021a). This technique has striking similarities with laminar electrophysiological measurements used in rodent/non-human primate research, where information is sampled from a single probe (Harris et al., 2016; Jun et al., 2017; Steinmetz et al., 2018). In that sense, we can perform fMRI experiments in the same way: if we know the target site of the line and its functional properties beforehand, we can tailor our experiments very specifically to the area being imaged. To avoid partial volume effects, the line should ideally be placed perpendicular to the cortex. This ensures that only signals from a particular layer are sampled by a given voxel in the line (Balasubramanian et al., 2022, 2021). In earlier work (Raimondo et al., 2023b, 2023a, 2021a), this was done by manually placing the line as perpendicular as possible to the cortical surface while maintaining a coronal slice orientation. This somewhat subjective procedure based purely on anatomy leaves unclear whether the imaged area will be activated by the task at hand. The goal of the present work is to 1. identify a specific location on the cortical surface, 2. place the line at this location, perpendicular to the cortical sheet, and 3. tailor our experiment to that specific location on the cortical surface.

We base the selection of the target and placement of the line on functional (visual field coverage, signal-to-noise) and structural (minimal curvature, avoiding veins) information across multiple sessions. Visual field coverage was quantified using the population receptive field (pRF) method (Dumoulin and Wandell, 2008), though the framework can be adapted for other purposes. We show that we are able to position the line on a specific coordinate obtained from a separate session. Anatomical variability such as session-to-session registration and subject motion were limited to <0.4mm and ~0.6mm, respectively. The pRF estimates obtained with line-scanning were similar to the target estimates for most subjects. This was quantified by taking the distance from the target location and the location with most-similar estimates compared to the line-scanning estimates across primary visual cortex, showing an average displacement of ~5.5mm, a displacement expected based on the width of the line.

# 2. Materials and methods

## 2.1. Participants

6 participants (ages 27–46 years, 2 female) participated in this study. All participants had normal or corrected-to normal visual acuity. All participants were screened prior to the experiments to ensure MR compatibility and provided written informed consent as approved by the ethics committee of the VU University Amsterdam.

## 2.2. MRI acquisition and preprocessing

##### Figure 1. Schematic representation of the selection and targeting framework for line-scanning. 1) In session 1, we collect anatomical and functional data using standard sequences.  Next, we reconstructed the cortical surface from the anatomical data and reconstructed the pRF properties from the functional data. Anatomical (curvature) and functional (pRF) properties were used to find a target vertex in primary visual cortex (V1). 2) The coordinate of the vertex was used as spatial reference; the normal vector was used to achieve perpendicularity to the cortex by calculating the angle between the normal vector and each cardinal axis (x, y, z). 3) Session 2 started with a brief, low-resolution anatomical scan, which was exported from the scanner, and registered to the detailed anatomy from session 1. 4) The resulting transformation was applied to the coordinate and normal vector of the target vertex resulting in the coordinates and orientation for the line.

The workflow includes two separate scan sessions typically acquired on different days (Figure 1). The first session is dedicated to the acquisition of anatomical information and whole-brain population receptive field (pRF) estimation. In the second session, we perform our functional line-scanning experiment, targeting a specific location on the cortical surface. Details of session 1 are described in section 2.2.1. Section 2.2.2. describes the method of deriving the target vertex and angulation of the line, and section 2.2.3. describes the line-scanning acquisition, experiment and analysis.

### 2.2.1. Session 1 - high resolution anatomical scans and population receptive field mapping

#### 2.2.1.1. High-resolution anatomy and whole-brain BOLD fMRI acquisition

T1-weighted and T2-weighted structural MRI data were acquired using a Philips Achieva 7T scanner with a 32-channel Nova Medical head coil, at a resolution of 0.7 mm isotropic (T1w: FOV = 220x220x200mm3, matrix = 352x352x263, TR/TE = 6.2ms/3ms, FA1/FA2 = 5°/7°, TRMP2RAGE/TI1/TI2 = 5500ms/800ms/2700ms, duration = 9min45s; T2w: FOV = 245x245x184mm3, matrix = 352x349x263, TR/TE = 3000/390ms, TSE-factor = 182, duration = 7min). Functional MRI data were acquired with a 1.7mm isotropic T2*-weighted gradient-echo (GE-) 2D-EPI sequence with 57 slices and 225 volumes (FOV = 216x216mm2, matrix = 128x125, TR/TE = 1500ms/22ms, FA = 53°), with a duration of 330s. 6 dummy scans (9s) were discarded to avoid start-up magnetization transients. Foam padding was used to minimize head movement. At the end of each functional run, a top-up scan with opposite phase-encoding direction was recorded, in order to perform susceptibility distortion correction (Andersson et al., 2003).

#### 2.2.1.2. pRF experiment

We used a bar-shaped stimulus with a checkerboard pattern vignetted by a circular aperture (Aqil et al., 2021; Dumoulin and Wandell, 2008). Four bar orientations (0°, 45°, 90°, and 135°) and two different motion directions were used, giving a total of eight different bar traversal configurations. The width of the bar subtended 1.25°. A period of 15 seconds of mean luminance was presented every two bar passes. Participants’ engagement was ensured by presenting a small fixation dot in the middle of the stimulus that changed color (red-green) at a semi-random interval. Participants were instructed to report this change of color via a button press.

#### 2.2.1.3. Anatomical workflow

T1-weighted (T1w) and T1map images (Marques et al., 2010) were estimated using pymp2rage (de Hollander, 2018; https://github.com/Gilles86/pymp2rage), and voxels containing only noise were removed using a brain mask derived from the second inversion image (INV2) using SPM12 (https://www.fil.ion.ucl.ac.uk/spm/software/spm12). The resulting T1-weighted (T1w) anatomical image was processed following a pipeline designed to optimize laminar accuracy (de Hollander et al., 2021; Figure S1).

First, a spatial-adaptive Non-Local Means (SANLM-) filter implemented in CAT12 (https://neuro-jena.github.io/cat/) was applied to the T1w-images to filter noise while maintaining edges (Manjón et al., 2010). The denoised image was segmented into cerebrospinal fluid (CSF), white matter (WM) and gray matter (GM) using CAT12 and corrected for intensity non-uniformity with N4BiasFieldCorrection (Tustison et al., 2010), distributed with ANTs 2.3.3. A mask representing the sagittal sinus was created using the T1w/T2w (if present) ratio and further refined by hand. The voxels in the mask were set to zero in the denoised T1w image to limit the necessity for manual intervention after surface reconstruction. The final masked image was then used as input for the structural preprocessing module of fMRIprep (Esteban et al., 2019), where the image was skull-stripped with a Nipype implementation of the antsBrainExtraction.sh workflow (Avants et al., 2008), using OASIS30ANTs as target template. Brain tissue segmentation of cerebrospinal fluid (CSF), white matter (WM) and gray matter (GM) was performed on the brain-extracted T1w using FSL’s FAST (Zhang et al., 2001). FreeSurfer 7.2 recon-all (Dale et al., 1999) was used to obtain native cortical surface reconstructions for each participant.

After surface reconstruction, segmentations derived from FreeSurfer (Dale et al., 1999), CAT12 (https://neuro-jena.github.io/cat/), FAST (Zhang et al., 2001), Nighres’ MGDM (Bazin et al., 2014; Bogovic et al., 2013), and manual edits were averaged and used as input for Nighres’ CRUISE algorithm (Han et al., 2004). Mislabeled voxels were manually annotated in ITK-Snap (Yushkevich et al., 2006) and added to FreeSurfer’s brainmask.mgz, after which the entire preprocessing pipeline was run again. This process was repeated until surface reconstruction was satisfactory (Figure S1).

#### 2.2.1.4. Functional workflow

After surface reconstruction, whole-brain functional MRI data were preprocessed using fMRIPrep (see Supplementary Methods for boilerplate). Confound regressors were removed from the preprocessed BOLD time courses using pybest (https://github.com/lukassnoek/pybest). We then converted the data to %change using the mean of the empty-screen periods in the pRF experiment. Denoised, %changed BOLD time courses were averaged across runs and used to estimate population-receptive field (pRF) parameters by means of a Gaussian pRF (Dumoulin and Wandell, 2008; Figure S2), implemented in prfpy (https://github.com/VU-Cog-Sci/prfpy). This model contains of three spatial parameters, x0, y0, and σ, where (x0, y0) is the center and σ is the Gaussian spread (standard deviation). For a given pRF model, a prediction of the pRF response is obtained by taking the dot product between pRF and stimulus at each timepoint and convolving this with the hemodynamic response function (HRF). The optimal pRF parameters were found by minimizing the residual sum of squares (RSS) with trust-contr optimization (Figure S2).

### 2.2.2. Vertex selection

Vertex selection was implemented making use of surface processing procedures from pycortex (Gao et al., 2015). From the pRF-parameters obtained, we calculated the eccentricity of each vertex and polar angle. As criteria, we used an eccentricity<3 degrees of visual angle, with high variance explained (depending on subject; range 0.35-0.7), and searched within V1 (as per the V1_exvivo.thresh label from FreeSurfer) for the vertex with minimal curvature. This vertex is associated with an RAS coordinate in FreeSurfer (TKR) space. This coordinate was then transformed to scanner coordinates using option [5] of https://surfer.nmr.mgh.harvard.edu/fswiki/CoordinateSystems. To position the line perpendicular to the selected patch of cortex, we aimed to place the line along the normal vector of the vertex (see section 2.2.3.2. for more details) at mid-gray-matter depth.

### 2.2.3. Session 2 - line-scanning

#### 2.2.3.1. Line-scanning fMRI acquisition

The line-scanning functional acquisition used a modified multi-echo 2D gradient-echo sequence where the phase-encoding gradients are removed and two OVS bands are used to suppress signals outside the line (Raimondo et al., 2023b). A gap of 4 millimeters between the two OVS bands was used, resulting in a nominal resolution for the line of 4x2.5x0.25mm3; thus, 0.25 millimeters in the laminar direction. Other parameters were: TR/TE1-5 = 105ms/6ms, 14ms, 22ms, 30ms, 38ms, readout bandwidth = 131.4 Hz/pixel, FA = 16° (Raimondo et al., 2023b). Data was acquired using two custom-built high-density 16-channel surface coils arrays (total 32 channels) for signal reception (Petridou et al., 2013; Priovoulos et al., 2021) and the NOVA coil for transmission (Nova Medical, Wilmington, MA, USA). The gradient coil has a maximum amplitude of 40 mT/m and a 200 T/m/s maximum slew rate.

For registration, a 4-minute whole-brain T1-weighted scan was acquired using the 2-channel transmit coil to receive (Nova Medical, Wilmington, MA, USA), at a resolution of 1.5mm isotropic (FOV = 245x245x184mm3, matrix = 164x163x184, TR/TE = 6.2ms/3ms, FA1/FA2 = 5°/7°, TRMP2RAGE/TI1/TI2 = 5500ms/800ms/2700ms). A partial field-of-view MP2RAGE scan (FOV = 245x245x184mm3, matrix = 164x163x184, resolution = 1.5x1.5x2.0mm3, TR/TE = 6.2ms/1.97ms, FA = 6°) was acquired with the angulation and location of the line for anatomical reference. Two short additional scans accompanied the line-scanning acquisition: for the nominal line representation, a slice image with phase-encoding, but without OVS bands was acquired. For line coil sensitivity maps used when reconstructing line-scanning data, a slice image with phase encoding and with OVS bands was acquired.

#### 2.2.3.2. Line-planning procedure

Immediately upon completion of the low-resolution anatomical scan, we exported the image and registered it to the first session using rigid-body registration with antsRegistration (ANTs v2.3.1). The resulting transformation matrix was applied to the coordinate (using antsApplyTransformsToPoints), allowing us to obtain the normal vector following the procedure detailed in section 2.2.2. The angle between the normal vector and each of the three axes was calculated using the rule of cosines (Figure 1). To translate these angles to the magnet (imaging gradients) coordinate frame of reference, we re-calculated the angles relative to a coronal slice. If the angle with the left-right axis was larger than 45°, we re-calculated the angles relative to a sagittal slice. The final set of orientations/translations was then entered in the MR-console for subsequent line-scanning at the targeted location.

#### 2.2.3.3. pRF experiment

##### Figure 2. Overview of the experimental setup. From structural and functional properties, a target vertex was derived (A). This target vertex represents a particular portion of the visual field (B). We then tuned the experimental design to target that specific location in visual space (C).

During the line-scanning session we performed a pRF-experiment targeting the visual location of the target vertex’ pRF (Figure 2). The visual stimuli were generated using the Python Psychopy package (Peirce, 2007) wrapped in exptools2 (https://github.com/VU-Cog-Sci/exptools2). Stimuli were displayed on an MRI compatible screen located outside the bore (Cambridge Research Systems 32” LCD widescreen, 1920x1080 resolution, 120Hz refresh rate), viewed by the participants through front-silvered mirrors. Two bar orientations (0° and 90°), two motion directions, and two bar thicknesses (0.625° and 1.25°) were used, giving a total of eight different bar configurations (duration of ~5 minutes); 2 iterations of an identical stimulus movement sequence were performed per run, resulting in an acquisition time of ~9.5 minutes. Participants’ engagement was ensured using the same task as described in section 2.2.1.2.

#### 2.2.3.4. Preprocessing and analysis

The reconstruction of the line-scanning data was performed offline using MATLAB Gyrotools. We combined the multi-channel coil data with a temporal signal-to-noise ratio (tSNR) and coil sensitivity-weighted sum of squares (SoS) weighted scheme per echo (Raimondo et al., 2023b, 2021a). Prior to channel combination, we applied a NORDIC denoising step, while multi-echo data were combined with a sum of squares (Raimondo et al., 2023b; Vizioli et al., 2021). For each of the BOLD runs found per subject, the following preprocessing was performed. Drifts were removed from the data using a discrete cosine transform (DCT-) filter (<0.01Hz). Data was then z-scored and a custom implementation of aCompCor (Behzadi et al., 2007) tailored to line-scanning data was applied (Figure S3): tissue segmentations from Nighres CRUISE algorithm (Han et al., 2004) from the session 1 anatomical scan were transformed to the individual slices of each run using antsApplyTransforms with MultiLabel interpolation. White matter and CSF voxels were selected by multiplying the slice with the nominal line image. Time courses from these voxels were extracted and used as input for principal component analysis (PCA). To avoid task-related frequencies being regressed out, resulting time courses from the PCA were high-pass filtered slightly below the respiratory frequency (~0.18Hz). These high-pass filtered time courses were used as nuisance regressors to clean the data from respiration/cardiac frequencies (Behzadi et al., 2007; Figure S3). The cleaned time courses were then converted to %change. Because this experiment reflects relatively slow changes in visual processes, the temporal resolution was not fully exploited. Hence, for further noise reduction, we low-pass filtered the data with a Savitsky-Golay filter (Savitzky and Golay, 1964) with a window length of 11 samples and a polynomial order of 3. To further boost SNR, we averaged the two iterations of the experimental stimulus sequence from each run.

# 3. Results

## 3.1. Anatomical measures confirm accurate line-planning

#### Figure 3. Assessment of line-placement accuracy using anatomical measures. The registration cascade from target vertex (A) to line-scanning acquisition (B; outer right panel) is known after registering the anatomical image from session 1 (high-res) to the anatomical image from session 2 (low-res). Within session 2, we acquired a partial field-of-view image (partial FOV), as well as the anatomical slice without OVS pulses (slice). From this slice, we created an image representing the nominal line (line). For each subject, we projected this nominal line image back to the surface from which the target vertex originated, showing sufficient overlap between the target vertex (red dot) and nominal line image (white patches) (C). The patches represent the location at which the nominal line image intersects with gray matter and looks scattered due to unfolding of the cortex. (D) shows the variation in registration outcomes after registration anatomies from session 1 and session 2 a hundred times for each subject. (E) Highlights the effect of subject motion by means of manual alignment of the single slice images on positional stability of the target coordinate.

First, we used anatomical information to assess planning accuracy. We created a binarized mask representing the nominal line by taking the middle 16 voxels (indicative of the nominal 4mm gap between saturation pulses) in the phase encoding direction along the frequency encoding direction. Of note, due to the imperfect nature of these saturation slabs, there are contaminating signals coming from outside the region-of-interest (Raimondo et al., 2023b, 2021a). Because the full registration cascade from target vertex to the line through the low-resolution image, partial FOV image and single slice is known, we can project the nominal line image back onto the surface (Figure 3AB). This showed that for all subjects, the line was indeed placed on the target site as per the overlap of the line (white) and target vertex (red spot) (Figure 3C).

One potential source of variation is the registration accuracy between anatomical images from the first and second session.  For each subject, we performed the registration 100 times, applied the resulting matrices to the target coordinate, and calculated the Euclidean distance to the original coordinate targeted in the second session. Thus, for each subject, we obtained a distribution representing registration variation. This procedure showed that registration was highly stable (<0.4mm) for all subjects (Figure 3D).

An additional source of variation is subject motion. Because of the limited field-of-view single slices offer, it is challenging to estimate this accurately. Nevertheless, we manually aligned slices of each run to the first slice right after the first anatomical scan. This procedure assumes motion is limited after initial registration of the first and second session and the acquisition of this slice. We applied each run-to-run transformation matrix to the targeted coordinate with antsApplyTransformsToPoints to obtain the coordinate in each run-specific slice. We then evaluated the Euclidean distance between these coordinates and the initial target coordinate. This showed that motion induced an average displacement of the target coordinate of ~0.6mm across runs (Figure 3E).

## 3.2. Functional measures confirm accurate line-planning

#### Figure 4. Predicted responses (A) In orange, the predicted time course obtained by passing the design matrix of the pRF paradigm during the line-scanning experiment through the estimates of the target vertex. In green, the prediction given by the model estimates after fitting the actual line-scanning data. (B) The corresponding predicted pRFs in visual space for the target vertex estimates (orange) and fitted estimates (green). (C) Cross-validated variance explained (cvR2) across subjects for a design that is spatially invariant (block), the line-scanning design given the target vertex estimates (target), and line-scanning estimates (line). *p < .05, ***p < .001.

We next assessed line localization based on functional properties. First, we predicted the signal of the target vertex (Figure 4A; orange curve) in response to the stimulus design during the line-scanning experiment. To deal with potential differences in BOLD amplitudes across sessions and sequences, we performed an additional GLM between the prediction from the target vertex’ pRF and line-scanning data. This resulted in a strong overlap between this prediction and the estimated prediction from fitting the line-scanning data (Figure 4A, green curve). Despite this marked overlap, we observed slight variations in pRF size and location (Figure 4B). To estimate the out-of-experiment variance explained (r2), we compared the r2 from the target vertex prediction and the estimates from the line-scanning fits, and benchmarked this against the null-model that predicts a signal time course assuming a response that is not spatially selective, i.e. a block design reflecting activation whenever the stimulus is on the screen, regardless of position (Figure 4C). The variance explained from the null-model (block) was significantly lower than the target prediction (t10 = -6.19, p < .001, Cohen’s D = -3.57) and line prediction (t10 = -10.67, p < .001, Cohen’s D = -6.16), whereas the difference between target and line prediction was significant but only for a one-sided effect (t10 = 2.30, p < .044, Cohen’s D = 1.33). Overall, pRF estimates between target vertex and line-scanning estimates were very similar (Figure 4A).

#### Figure 5. Overview of functional confirmation metrics. (A) For all subjects, the target vertex averaged across runs (black) and individual runs (gray) from the first session, and the estimated pRF of the second (line-scanning) averaged across runs, within-run iterations, and gray matter voxels around target location. (B) Shows a normalized version of A, in which line-scanning pRFs shifted relative to the target vertex’ pRF, and their sizes are divided by the target vertex’ pRF size (sd). (C) Variance explained for the target vertex averaged across runs (wb avg), individual runs (wb runs), and line-scanning data (line avg). (D) For each vertex in V1, we assessed the distance from the vertices’ pRF to the line-scanning pRF in visual space. pRFs closer to the line are represented by lighter colors, while pRFs farther away show up in darker colors. We then assessed where in V1 the pRF from the whole-brain data (blue) matched best with the target vertex (red) in terms of Euclidean (E) and geodesic (F) distance.

pRF estimates of location obtained with line-scanning were similar to the estimates of the target (Figure 5AB), for both position and pRF size. Variance explained for line-scanning averaged over runs was comparable to that of single run whole-brain acquisitions (Figure 5C). To assess the similarity between target pRF and line-scanning pRF, we obtained the distance between the centers of the target pRF (target) and all vertices in V1 and picked out the vertex that was closest to the line-scanning pRF (match). Reflecting V1’s retinotopic organization, we observed that the further away from the target we move along the cortex, the more divergent the pRFs become (Figure 5D). We then calculated the distance between this matching and target vertex on the surface (Figure 5EF, Figure S4). Given that the line is defined by the gap between saturation slabs (~4mm) and the thickness of the slice (2.5mm), the distance of the matching pRF to the target pRF should ideally be limited to the surface area of this rectangular surface patch. For the majority of the subjects, we found that the pRFs indeed fell within these dimensions (1.97-8.18mm, Figure 5E).

# 4. Discussion

Here, we present a framework for the neuroscientific implementation of high spatiotemporal resolution line-scanning fMRI. This was done by targeting a specific patch of cortex and tailoring the visual experiment to the properties of this patch. In this work, we applied the method in the context of population receptive fields (pRFs); based on whole-brain pRF mapping, a target vertex was selected. The pRF-mapping experiment for the line-scanning was focused around its representation in visual space. The line was placed on the associated coordinate and along the normal vector, i.e., perpendicular to the cortex, which limits mixing of signals coming from different cortical depths. The accuracy of this framework was quantified based on 1) anatomical and 2) functional measures.

To anatomically confirm the location, we projected the image representing the nominal line back to the surface from which the target vertex originated. This showed good overlap between the line and the target vertex, suggesting we indeed hit the intended coordinate. Such an approach is subject to multiple sources of variation, such as registration accuracy and subject motion. We found the registration between session 1 and session 2 to be accurate within <0.4mm, which could be attributed to the selection of transformation and regularization models within ANTs (Avants et al., 2011, 2008). Another source of anatomical variability is subject motion; because of the limited field-of-view of line-scanning, it is particularly prone to this type of variability because spatial references are severely reduced (Balasubramanian et al., 2021; Raimondo et al., 2023b, 2021a). To limit problems regarding motion, the subject pool mostly consisted of subjects that had extensive experience with MRI (Balasubramanian et al., 2021). The usual foam padding to fixate the head was used as well. Regardless, we assessed motion throughout the session by using manual alignments of the single slices with phase-encoding direction and without OVS bands, showing the target coordinate shifted about 0.6mm throughout the session.

The functional accuracy was assessed by estimating the distance between the target vertex and the vertex whose whole-brain pRF estimates matched the obtained line-scanning estimates best. In a sense, this quantified the extent to which line-scanning is able to produce similar estimates compared to whole-brain data. On average, the best-matching vertex was 5.5mm away from the target coordinate. Given the dimensions of the line thickness (i.e. not its cortical depth resolution) and (imperfect) gap between saturation slabs, this result was well within the expected bounds.

Moreover, several factors could contribute to differences in pRF estimates (Dumoulin and Knapen, 2018; Dumoulin and Wandell, 2008). Firstly, we changed the aperture size from full-field (in session 1) to localized around the pRF of the target. pRF estimates have been shown to shift away from their preferred location when reducing the stimulus extent (Kay et al., 2013; Prabhakaran et al., 2020). Secondly - and related to the previous point - attentional modulation might occur by changing the visual extent and aperture location; changing the aperture might induce an involuntary shift of attention towards the border of the stimulus (exogenous) that could result in pRF variations (Alvarez et al., 2015; Klein et al., 2018; Prabhakaran et al., 2020; van Es et al., 2019; Womelsdorf et al., 2008, 2006). Thirdly, the pRFs were estimated from different sequences and across different days. Though pRF estimates are typically robust under identical conditions, inducing scanner-related sources of variation may contribute (Alvarez et al., 2015; Lage-Castellanos et al., 2020; Senden et al., 2014; van Dijk et al., 2016). The spatial resolution of line-scanning in laminar direction is much higher compared to the whole-brain acquisition, which has two side effects affecting pRF estimates; 1) it alters the neuronal population that is contributing to the response to a given stimulus (Dumoulin and Knapen, 2018); and 2) at these resolutions, the signal is more dominated by thermal noise (Bianciardi et al., 2009; Raimondo et al., 2023b; Triantafyllou et al., 2005). As pRF estimation is a non-convex problem, the cost function presents numerous local minima that compromise the convergence of optimization algorithms (Benson et al., 2018; Lage-Castellanos et al., 2020). This problem is particularly relevant in noisy voxels, where one of the local minima can be mistaken for the global minimum, and thus result in compromised estimates of the pRF size in particular (Benson et al., 2018; Lage-Castellanos et al., 2020). We tried to mitigate this effect by temporally smoothing our data, which increases variance explained measure and stabilizes model estimation, yet may inflate pRF size estimates (Morgan and Schwarzkopf, 2020). In future applications of line-scanning, we will also exploit the temporal aspect. Given all these factors, some spread in pRF estimates was expected and the estimates are quite close.

In all, we have demonstrated the ability to target a specific location in cortex allowing the functional properties of this location to be probed. This is contrary to a regular fMRI experiment, where a large part of the brain is imaged and stimuli are often designed to elicit more global responses. Though we used line-scanning in the context of pRFs, our approach is general and can be extended to other modalities. For instance, in the context of (cerebrovascular or neurodegenerative) disease; if a lesion map is available, the line could be placed such that it targets exactly this lesion. Alternatively, if a given location within the vasculature is compromised, a line could be placed right at the problematic area to probe microvascular flow patterns (Angleys et al., 2015; Gutiérrez-Jiménez et al., 2018; Østergaard et al., 2013; Rasmussen et al., 2015; Zwanenburg and van Osch, 2017). The line could also be placed in different areas of the brain to aid in the research into neurovascular coupling (Báez-Yáñez et al., 2020; Havlicek and Uludağ, 2020). Returning to vision, one could apply this method for figure-ground segregation (Poltoratski et al., 2019; Poltoratski and Tong, 2020; Self et al., 2013) or Kanizsa illusion (Kanizsa, 1976; Kok et al., 2016; Kok and de Lange, 2014) experiments to separate ascending/descending signals across depth by placing the stimulus of interest directly on the location of the pRF in visual space. This drives fMRI from conventional population-based experimentation to precision-targeted experimentation, bridging the gap with electrophysiological (rodent/non-human primate) research.

# 5. Conclusion

This work provides a framework for the neuroscientific implementation of line-scanning fMRI. For neuroscience applications, precise selection and targeting of the cortical location is critical. We propose a method for planning the line based on functional and anatomical properties. Though we selected visual cortical locations, the same framework can select and target other cortical locations. We also discuss how knowledge about the cortical location can be used to design experiments optimal for that cortical location. This strategy is inspired by animal neurophysiology experiments, where extremely high spatiotemporal resolution measurements are performed in a specific part of the cortex. Such an approach is unique for fMRI research, and could serve as a guide of what is possible at the extreme end of the spatiotemporal spectrum.

# Acknowledgements

This work was supported by a Royal Netherlands Academy for Arts and Sciences (KNAW) grant (2018, to S.O.D., W.Z., J.S., T.K.), a Netherlands Organization for Scientific Research (NWO) Vidi Grant (TTW VI.Vidi.198.016 to W.Z.), an NWO Vici grant (016.Vici.185.050 to S.O.D.). The Spinoza Centre is a joint initiative of the KNAW - Netherlands Institute for Neuroscience, Vrije University Amsterdam, Amsterdam University Medical Centra - locations AMC and VUmc.

# Data and code availability

The code for this paper is available in the following repositories: Preprocessing of fMRI, anatomical pipeline, and handling of line-scanning data https://github.com/gjheij/linescanning. Line-scanning experiment: https://github.com/gjheij/LineExps/tree/main/lineprf2. Analysis: https://github.com/spinoza-centre/pRFline. Data in BIDS-format (Gorgolewski et al., 2016) will be made available on request.

# References

Alvarez, I., De Haas, B., Clark, C., Rees, G., Schwarzkopf, D., 2015. Comparing different stimulus configurations for population receptive field mapping in human fMRI. Frontiers in Human Neuroscience 9.

Andersson, J.L.R., Skare, S., Ashburner, J., 2003. How to correct susceptibility distortions in spin-echo echo-planar images: application to diffusion tensor imaging. NeuroImage 20, 870–888. https://doi.org/10.1016/S1053-8119(03)00336-7

Angleys, H., Østergaard, L., Jespersen, S.N., 2015. The Effects of Capillary Transit Time Heterogeneity (CTH) on Brain Oxygenation. J Cereb Blood Flow Metab 35, 806–817. https://doi.org/10.1038/jcbfm.2014.254

Aqil, M., Knapen, T., Dumoulin, S.O., 2021. Divisive normalization unifies disparate response signatures throughout the human visual hierarchy. Proc. Natl. Acad. Sci. U.S.A. 118, e2108713118. https://doi.org/10.1073/pnas.2108713118

Avants, B.B., Epstein, C.L., Grossman, M., Gee, J.C., 2008. Symmetric diffeomorphic image registration with cross-correlation: Evaluating automated labeling of elderly and neurodegenerative brain. Medical Image Analysis, Special Issue on The Third International Workshop on Biomedical Image Registration – WBIR 2006 12, 26–41. https://doi.org/10.1016/j.media.2007.06.004

Avants, B.B., Tustison, N.J., Song, G., Cook, P.A., Klein, A., Gee, J.C., 2011. A Reproducible Evaluation of ANTs Similarity Metric Performance in Brain Image Registration. Neuroimage 54, 2033–2044. https://doi.org/10.1016/j.neuroimage.2010.09.025

Báez-Yáñez, M.G., Siero, J.C.W., Petridou, N., 2020. A statistical 3D model of the human cortical vasculature to compute the hemodynamic fingerprint of the BOLD fMRI signal. bioRxiv 2020.10.05.326512. https://doi.org/10.1101/2020.10.05.326512

Balasubramanian, M., Mulkern, R.V., Neil, J.J., Maier, S.E., Polimeni, J.R., 2021. Probing in vivo cortical myeloarchitecture in humans via line-scan diffusion acquisitions at 7 T with 250-500 micron radial resolution. Magnetic Resonance in Medicine 85, 390–403. https://doi.org/10.1002/mrm.28419

Balasubramanian, M., Mulkern, R.V., Polimeni, J.R., 2022. In vivo irreversible and reversible transverse relaxation rates in human cerebral cortex via line scans at 7 T with 250 micron resolution perpendicular to the cortical surface. Magnetic Resonance Imaging 90, 44–52. https://doi.org/10.1016/j.mri.2022.04.001

Bazin, P.-L., Weiss, M., Dinse, J., Schäfer, A., Trampel, R., Turner, R., 2014. A computational framework for ultra-high resolution cortical segmentation at 7Tesla. NeuroImage, In-vivo Brodmann Mapping of the Human Brain 93, 201–209. https://doi.org/10.1016/j.neuroimage.2013.03.077

Behzadi, Y., Restom, K., Liau, J., Liu, T.T., 2007. A component based noise correction method (CompCor) for BOLD and perfusion based fMRI. NeuroImage 37, 90–101. https://doi.org/10.1016/j.neuroimage.2007.04.042

Benson, N.C., Jamison, K.W., Arcaro, M.J., Vu, A.T., Glasser, M.F., Coalson, T.S., Van Essen, D.C., Yacoub, E., Ugurbil, K., Winawer, J., Kay, K., 2018. The Human Connectome Project 7 Tesla retinotopy dataset: Description and population receptive field analysis. Journal of Vision 18, 23. https://doi.org/10.1167/18.13.23

Bianciardi, M., Fukunaga, M., van Gelderen, P., Horovitz, S.G., de Zwart, J.A., Shmueli, K., Duyn, J.H., 2009. Sources of functional magnetic resonance imaging signal fluctuations in the human brain at rest: a 7 T study. Magnetic Resonance Imaging 27, 1019–1029. https://doi.org/10.1016/j.mri.2009.02.004

Bogovic, J.A., Prince, J.L., Bazin, P.-L., 2013. A Multiple Object Geometric Deformable Model for Image Segmentation. Comput Vis Image Underst 117, 145–157. https://doi.org/10.1016/j.cviu.2012.10.006

Chen, J.E., Glover, G.H., Fultz, N.E., Rosen, B.R., Polimeni, J.R., Lewis, L.D., 2021. Investigating mechanisms of fast BOLD responses: The effects of stimulus intensity and of spatial heterogeneity of hemodynamics. NeuroImage 245, 118658. https://doi.org/10.1016/j.neuroimage.2021.118658

Choi, S., Chen, Y., Zeng, H., Biswal, B., Yu, X., 2023. Identifying the distinct spectral dynamics of laminar-specific interhemispheric connectivity with bilateral line-scanning fMRI. J Cereb Blood Flow Metab 271678X231158434. https://doi.org/10.1177/0271678X231158434

Dale, A.M., Fischl, B., Sereno, M.I., 1999. Cortical Surface-Based Analysis: I. Segmentation and Surface Reconstruction. NeuroImage 9, 179–194. https://doi.org/10.1006/nimg.1998.0395

de Hollander, G., 2018. Pymp2rage [WWW Document]. Zenodo https://doi. org/10.5281/zenodo.

de Hollander, G., van der Zwaag, W., Qian, C., Zhang, P., Knapen, T., 2021. Ultra-high field fMRI reveals origins of feedforward and feedback activity within laminae of human ocular dominance columns. NeuroImage 228, 117683. https://doi.org/10.1016/j.neuroimage.2020.117683

Dumoulin, S.O., Fracasso, A., van der Zwaag, W., Siero, J.C.W., Petridou, N., 2018. Ultra-high field MRI: Advancing systems neuroscience towards mesoscopic human brain function. NeuroImage 168, 345–357. https://doi.org/10.1016/j.neuroimage.2017.01.028

Dumoulin, S.O., Knapen, T., 2018. How visual cortical organization is altered by ophthalmologic and neurologic disorders. Annual Review of Vision Science 4, 357–379. https://doi.org/10.1146/annurev-vision-091517-033948

Dumoulin, S.O., Wandell, B.A., 2008. Population receptive field estimates in human visual cortex. NeuroImage 39, 647–660. https://doi.org/10.1016/j.neuroimage.2007.09.034

Esteban, O., Markiewicz, C.J., Blair, R.W., Moodie, C.A., Isik, A.I., Erramuzpe, A., Kent, J.D., Goncalves, M., DuPre, E., Snyder, M., Oya, H., Ghosh, S.S., Wright, J., Durnez, J., Poldrack, R.A., Gorgolewski, K.J., 2019. fMRIPrep: a robust preprocessing pipeline for functional MRI. Nat Methods 16, 111–116. https://doi.org/10.1038/s41592-018-0235-4

Felleman, D.J., Van Essen, D.C., 1991. Distributed hierarchical processing in the primate cerebral cortex. Cerebral Cortex 1, 1–47. https://doi.org/10.1093/cercor/1.1.1

Fischl, B., Dale, A.M., 2000. Measuring the thickness of the human cerebral cortex from magnetic resonance images. Proceedings of the National Academy of Sciences of the United States of America 97, 11050–11055. https://doi.org/10.1073/pnas.200033797

Gao, J.S., Huth, A.G., Lescroart, M.D., Gallant, J.L., 2015. Pycortex: an interactive surface visualizer for fMRI. Frontiers in Neuroinformatics 9.

Gorgolewski, K.J., Auer, T., Calhoun, V.D., Craddock, R.C., Das, S., Duff, E.P., Flandin, G., Ghosh, S.S., Glatard, T., Halchenko, Y.O., Handwerker, D.A., Hanke, M., Keator, D., Li, X., Michael, Z., Maumet, C., Nichols, B.N., Nichols, T.E., Pellman, J., Poline, J.-B., Rokem, A., Schaefer, G., Sochat, V., Triplett, W., Turner, J.A., Varoquaux, G., Poldrack, R.A., 2016. The brain imaging data structure, a format for organizing and describing outputs of neuroimaging experiments. Sci Data 3, 160044. https://doi.org/10.1038/sdata.2016.44

Gutiérrez-Jiménez, E., Angleys, H., Rasmussen, P.M., Mikkelsen, I.K., Mouridsen, K., Østergaard, L., 2018. The effects of hypercapnia on cortical capillary transit time heterogeneity (CTH) in anesthetized mice. J Cereb Blood Flow Metab 38, 290–303. https://doi.org/10.1177/0271678X17692598

Han, X., Pham, D.L., Tosun, D., Rettmann, M.E., Xu, C., Prince, J.L., 2004. CRUISE: Cortical reconstruction using implicit surface evolution. NeuroImage 23, 997–1012. https://doi.org/10.1016/j.neuroimage.2004.06.043

Harris, K.D., Quiroga, R.Q., Freeman, J., Smith, S.L., 2016. Improving data quality in neuronal population recordings. Nat Neurosci 19, 1165–1174. https://doi.org/10.1038/nn.4365

Havlicek, M., Uludağ, K., 2020. A dynamical model of the laminar BOLD response. NeuroImage 204, 1–44. https://doi.org/10.1016/j.neuroimage.2019.116209

Hubel, D.H., Wiesel, T.N., 1972. Laminar and columnar distribution of geniculo‐cortical fibers in the macaque monkey. Journal of Comparative Neurology 146, 421–450. https://doi.org/10.1002/cne.901460402

Huber, L., Finn, E.S., Chai, Y., Goebel, R., Stirnberg, R., Stöcker, T., Marrett, S., Uludag, K., Kim, S.G., Han, S.H., Bandettini, P.A., Poser, B.A., 2021. Layer-dependent functional connectivity methods. Progress in Neurobiology 207, 101835. https://doi.org/10.1016/j.pneurobio.2020.101835

Huber, L., Goense, J., Kennerley, A.J., Trampel, R., Guidi, M., Reimer, E., Ivanov, D., Neef, N., Gauthier, C.J., Turner, R., Möller, H.E., 2015. Cortical lamina-dependent blood volume changes in human brain at 7T. NeuroImage 107, 23–33. https://doi.org/10.1016/j.neuroimage.2014.11.046

Jun, J.J., Steinmetz, N.A., Siegle, J.H., Denman, D.J., Bauza, M., Barbarits, B., Lee, A.K., Anastassiou, C.A., Andrei, A., Aydın, Ç., Barbic, M., Blanche, T.J., Bonin, V., Couto, J., Dutta, B., Gratiy, S.L., Gutnisky, D.A., Häusser, M., Karsh, B., Ledochowitsch, P., Lopez, C.M., Mitelut, C., Musa, S., Okun, M., Pachitariu, M., Putzeys, J., Rich, P.D., Rossant, C., Sun, W., Svoboda, K., Carandini, M., Harris, K.D., Koch, C., O’Keefe, J., Harris, T.D., 2017. Fully integrated silicon probes for high-density recording of neural activity. Nature 551, 232–236. https://doi.org/10.1038/nature24636

Kanizsa, G., 1976. Subjective Contours. Scientific American 234, 48–53.

Kay, K.N., Winawer, J., Mezer, A., Wandell, B.A., 2013. Compressive spatial summation in human visual cortex. Journal of Neurophysiology 110, 481–494. https://doi.org/10.1152/jn.00105.2013

Klein, B.P., Fracasso, A., van Dijk, J.A., Paffen, C.L.E., te Pas, S.F., Dumoulin, S.O., 2018. Cortical depth dependent population receptive field attraction by spatial attention in human V1. NeuroImage 176, 301–312. https://doi.org/10.1016/j.neuroimage.2018.04.055

Kok, P., Bains, L.J., van Mourik, T., Norris, D.G., de Lange, F.P., 2016. Selective Activation of the Deep Layers of the Human Primary Visual Cortex by Top-Down Feedback. Current Biology 26, 371–376. https://doi.org/10.1016/j.cub.2015.12.038

Kok, P., de Lange, F.P., 2014. Shape Perception Simultaneously Up- and Downregulates Neural Activity in the Primary Visual Cortex. Current Biology 24, 1531–1535. https://doi.org/10.1016/j.cub.2014.05.042

Lage-Castellanos, A., Valente, G., Senden, M., De Martino, F., 2020. Investigating the Reliability of Population Receptive Field Size Estimates Using fMRI. Frontiers in Neuroscience 14.

Lewis, L.D., Setsompop, K., Rosen, B.R., Polimeni, J.R., 2016. Fast fMRI can detect oscillatory neural activity in humans. Proceedings of the National Academy of Sciences 113, E6679–E6685. https://doi.org/10.1073/pnas.1608117113

Lindquist, M.A., 2008. The Statistical Analysis of fMRI Data. Statistical Science 23, 439–464. https://doi.org/10.1214/09-STS282

Manjón, J.V., Coupé, P., Martí-Bonmatí, L., Collins, D.L., Robles, M., 2010. Adaptive non-local means denoising of MR images with spatially varying noise levels. Journal of Magnetic Resonance Imaging 31, 192–203. https://doi.org/10.1002/jmri.22003

Marques, J.P., Kober, T., Krueger, G., van der Zwaag, W., Van de Moortele, P.F., Gruetter, R., 2010. MP2RAGE, a self bias-field corrected sequence for improved segmentation and T1-mapping at high field. NeuroImage 49, 1271–1281. https://doi.org/10.1016/j.neuroimage.2009.10.002

Morgan, C., Schwarzkopf, D.S., 2020. Comparison of human population receptive field estimates between scanners and the effect of temporal filtering. https://doi.org/10.12688/f1000research.20496.2

Moro, S.I., Tolboom, M., Khayat, P.S., Roelfsema, P.R., 2010. Neuronal Activity in the Visual Cortex Reveals the Temporal Order of Cognitive Operations. J Neurosci 30, 16293–16303. https://doi.org/10.1523/JNEUROSCI.1256-10.2010

Ogawa, S., Menon, R.S., Tank, D.W., Kim, S.G., Merkle, H., Ellermann, J.M., Ugurbil, K., 1993. Functional brain mapping by blood oxygenation level-dependent contrast magnetic resonance imaging. A comparison of signal characteristics with a biophysical model. Biophysical Journal 64, 803–812. https://doi.org/10.1016/S0006-3495(93)81441-3

Oliveira, Í.A.F., Cai, Y., Hofstetter, S., Siero, J.C.W., van der Zwaag, W., Dumoulin, S.O., 2022. Comparing BOLD and VASO-CBV population receptive field estimates in human visual cortex. NeuroImage 248, 118868. https://doi.org/10.1016/j.neuroimage.2021.118868

Oliveira, Í.A.F., Siero, J.C.W., Dumoulin, S.O., van der Zwaag, W., 2023. Improved Selectivity in 7 T Digit Mapping Using VASO-CBV. Brain Topogr 36, 23–31. https://doi.org/10.1007/s10548-022-00932-x

Østergaard, L., Aamand, R., Karabegovic, S., Tietze, A., Blicher, J.U., Mikkelsen, I.K., Iversen, N.K., Secher, N., Engedal, T.S., Anzabi, M., Jimenez, E.G., Cai, C., Koch, K.U., Næss-Schmidt, E.T., Obel, A., Juul, N., Rasmussen, M., Sørensen, J.C.H., 2013. The Role of the Microcirculation in Delayed Cerebral Ischemia and Chronic Degenerative Changes after Subarachnoid Hemorrhage. J Cereb Blood Flow Metab 33, 1825–1837. https://doi.org/10.1038/jcbfm.2013.173

Peirce, J.W., 2007. PsychoPy—Psychophysics software in Python. Journal of Neuroscience Methods 162, 8–13. https://doi.org/10.1016/J.JNEUMETH.2006.11.017

Petridou, N., Italiaander, M., van de Bank, B.L., Siero, J.C.W., Luijten, P.R., Klomp, D.W.J., 2013. Pushing the limits of high-resolution functional MRI using a simple high-density multi-element coil design. NMR in Biomedicine 26, 65–73. https://doi.org/10.1002/nbm.2820

Petridou, N., Siero, J.C.W., 2019. Laminar fMRI: What can the time domain tell us? NeuroImage 197, 761–771. https://doi.org/10.1016/j.neuroimage.2017.07.040

Polimeni, J.R., Lewis, L.D., 2021. Imaging faster neural dynamics with fast fMRI: a need for updated models of the hemodynamic response. Prog Neurobiol 207, 102174. https://doi.org/10.1016/j.pneurobio.2021.102174

Poltoratski, S., Maier, A., Newton, A.T., Tong, F., 2019. Figure-Ground Modulation in the Human Lateral Geniculate Nucleus Is Distinguishable from Top-Down Attention. Current Biology 29, 2051-2057.e3. https://doi.org/10.1016/j.cub.2019.04.068

Poltoratski, S., Tong, F., 2020. Resolving the Spatial Profile of Figure Enhancement in Human V1 through Population Receptive Field Modeling. J. Neurosci. 40, 3292–3303. https://doi.org/10.1523/JNEUROSCI.2377-19.2020

Prabhakaran, G.T., Carvalho, J., Invernizzi, A., Kanowski, M., Renken, R.J., Cornelissen, F.W., Hoffmann, M.B., 2020. Foveal pRF properties in the visual cortex depend on the extent of stimulated visual field. NeuroImage 222, 117250. https://doi.org/10.1016/j.neuroimage.2020.117250

Priovoulos, N., Roos, T., Ipek, Ö., Meliado, E.F., Nkrumah, R.O., Klomp, D.W.J., van der Zwaag, W., 2021. A local multi-transmit coil combined with a high-density receive array for cerebellar fMRI at 7 T. NMR in Biomedicine 34, e4586. https://doi.org/10.1002/NBM.4586

Raimondo, L., Heij, J., Knapen, T., Dumoulin, S.O., van der Zwaag, W., Siero, J.C.W., 2023a. Towards functional spin-echo BOLD line-scanning in humans at 7T. Magn Reson Mater Phy. https://doi.org/10.1007/s10334-022-01059-7

Raimondo, L., Knapen, T., Oliveira,  ĺcaro A.F., Yu, X., Dumoulin, S.O., van der Zwaag, W., Siero, J.C.W., 2021a. A line through the brain: implementation  of human line-scanning at 7T for ultra-high spatiotemporal resolution fMRI. J Cereb Blood Flow Metab 41, 2831–2843. https://doi.org/10.1177/0271678X211037266

Raimondo, L., Oliveira,  ĺcaro A.F., Heij, J., Priovoulos, N., Kundu, P., Leoni, R.F., van der Zwaag, W., 2021b. Advances in resting state fMRI acquisitions for functional connectomics. NeuroImage 243. https://doi.org/10.1016/j.neuroimage.2021.118503

Raimondo, L., Priovoulos, N., Passarinho, C., Heij, J., Knapen, T., Dumoulin, S.O., Siero, J.C.W., van der Zwaag, W., 2023b. Robust high spatio-temporal line-scanning fMRI in humans at 7T using multi-echo readouts, denoising and prospective motion correction. Journal of Neuroscience Methods 384, 109746. https://doi.org/10.1016/J.JNEUMETH.2022.109746

Rasmussen, P.M., Jespersen, S.N., Østergaard, L., 2015. The Effects of Transit Time Heterogeneity on Brain Oxygenation during Rest and Functional Activation. J Cereb Blood Flow Metab 35, 432–442. https://doi.org/10.1038/jcbfm.2014.213

Rockland, K.S., Pandya, D.N., 1979. Laminar origins and terminations of cortical connections of the occipital lobe in the rhesus monkey. Brain Research 179, 3–20. https://doi.org/10.1016/0006-8993(79)90485-2

Savitzky, Abraham., Golay, M.J.E., 1964. Smoothing and Differentiation of Data by Simplified Least Squares Procedures. Anal. Chem. 36, 1627–1639. https://doi.org/10.1021/ac60214a047

Schroeder, C.E., Mehta, A.D., Givre, S.J., 1998. A spatiotemporal profile of visual system activation revealed by current source density analysis in the awake macaque. Cereb Cortex 8, 575–592. https://doi.org/10.1093/cercor/8.7.575

Self, M.W., van Kerkoerle, T., Supèr, H., Roelfsema, P.R., 2013. Distinct Roles of the Cortical Layers of Area V1 in Figure-Ground Segregation. Current Biology 23, 2121–2129. https://doi.org/10.1016/j.cub.2013.09.013

Senden, M., Reithler, J., Gijsen, S., Goebel, R., 2014. Evaluating Population Receptive Field Estimation Frameworks in Terms of Robustness and Reproducibility. PLOS ONE 9, e114054. https://doi.org/10.1371/journal.pone.0114054

Silva, A.C., Koretsky, A.P., 2002. Laminar specificity of functional MRI onset times during somatosensory stimulation in rat. Proceedings of the National Academy of Sciences 99, 15182–15187. https://doi.org/10.1073/pnas.222561899

Steinmetz, N.A., Koch, C., Harris, K.D., Carandini, M., 2018. Challenges and opportunities for large-scale electrophysiology with Neuropixels probes. Current Opinion in Neurobiology, Neurotechnologies 50, 92–100. https://doi.org/10.1016/j.conb.2018.01.009

Triantafyllou, C., Hoge, R.D., Krueger, G., Wiggins, C.J., Potthast, A., Wiggins, G.C., Wald, L.L., 2005. Comparison of physiological noise at 1.5 T, 3 T and 7 T and optimization of fMRI acquisition parameters. NeuroImage 26, 243–250. https://doi.org/10.1016/j.neuroimage.2005.01.007

Tustison, N.J., Avants, B.B., Cook, P.A., Zheng, Y., Egan, A., Yushkevich, P.A., Gee, J.C., 2010. N4ITK: Improved N3 Bias Correction. IEEE Transactions on Medical Imaging 29, 1310–1320. https://doi.org/10.1109/TMI.2010.2046908

van Dijk, J.A., de Haas, B., Moutsiana, C., Schwarzkopf, D.S., 2016. Intersession reliability of population receptive field estimates. NeuroImage 143, 293–303. https://doi.org/10.1016/j.neuroimage.2016.09.013

van Es, D.M., van der Zwaag, W., Knapen, T., 2019. Topographic Maps of Visual Space in the Human Cerebellum. Current Biology 29, 1689-1694.e3. https://doi.org/10.1016/j.cub.2019.04.012

Vizioli, L., Moeller, S., Dowdle, L., Akçakaya, M., De Martino, F., Yacoub, E., Uğurbil, K., 2021. Lowering the thermal noise barrier in functional brain mapping with magnetic resonance imaging. Nature Communications 12. https://doi.org/10.1038/s41467-021-25431-8

Womelsdorf, T., Anton-Erxleben, K., Pieper, F., Treue, S., 2006. Dynamic shifts of visual receptive fields in cortical area MT by spatial attention. Nat Neurosci 9, 1156–1160. https://doi.org/10.1038/nn1748

Womelsdorf, T., Anton-Erxleben, K., Treue, S., 2008. Receptive Field Shift and Shrinkage in Macaque Middle Temporal Area through Attentional Gain Modulation. J. Neurosci. 28, 8934–8944. https://doi.org/10.1523/JNEUROSCI.4030-07.2008

Yu, X., Qian, C., Chen, D.Y., Dodd, S.J., Koretsky, A.P., 2014. Deciphering laminar-specific neural inputs with line-scanning fMRI. Nature Methods 11, 55–58. https://doi.org/10.1038/nmeth.2730

Yushkevich, P.A., Piven, J., Hazlett, H.C., Smith, R.G., Ho, S., Gee, J.C., Gerig, G., 2006. User-guided 3D active contour segmentation of anatomical structures: Significantly improved efficiency and reliability. NeuroImage 31, 1116–1128. https://doi.org/10.1016/j.neuroimage.2006.01.015

Zhang, Y., Brady, M., Smith, S., 2001. Segmentation of brain MR images through a hidden Markov random field model and the expectation-maximization algorithm. IEEE Transactions on Medical Imaging 20, 45–57. https://doi.org/10.1109/42.906424

Zwanenburg, J.J.M., van Osch, M.J.P., 2017. Targeting Cerebral Small Vessel Disease With MRI. Stroke 48, 3175–3182. https://doi.org/10.1161/STROKEAHA.117.016996

The high resolution is only manifested along the line, i.e., 0.25mm vs 1.7mm between line-scanning and whole-brain acquisitions. This is about a factor 7. For the overall resolution, however, the line-scanning resolution is only 2 times higher; 4x2.5x0.25=2.5uL for line-scanning acquisitions, versus 1.7x1.7x1.7=4.9 uL for whole-brain acquisitions